[image: image18.png](&% SCORPION

VISION SOFTWARE™





[image: image21.png]640x480-8 bit

® apspten
g start

g b & 2

L2 Q

Settings | Service  Profle  Image  Snapshot Inspection| el Close

C:Program Fies\Tordivel A515corpion_3ILP-G1 Dernolimages|0001_demo_0.brp

cemmEg M T

V554 Pixehvalue 13

1o}

2, oveten | [ settnes By e B sysenies about
Descripton | History | Curves | Resuls | statstics |
Profile Verification System ($°9 SCORPION

Scorpion Vision Software is an independent and open software tool making computers see.

This profile demonstrates laser profile verification and measurement with standard components. The
components used is a 640x480 firewire camera and a laser.

« Press Start to start inspection.
© To enter Settings mode - password = 1234
© To enter Service mode - password = 911
« Using the Profile Selection Dialog you can make a maintenance copy of the this profile to make your
fication System.

custom Scorpion Color Ident

Scorpion is a tool for configuration and aperation of vision systems.

25]12/2004 15:45:16

s = 2 B @





Scorpion Laser system

for profile measurements

Reference: ud-2004-0007-a Installation and Operations Manual - Laser Profile Measurement
Date: December 22, 2004
Installation and Operations Manual
	[image: image2.jpg]SCORPION

VISION SOFTWARE™

fS
\




	TORDIVEL AS
Storgata 20 0184 Oslo Norway
Tlf +4723158700   (  Fax +4723158701 office@tordivel.no  (  www.tordivel.no


Scorpion Vision Software® is a Registered Trademark of Tordivel AS.

Table of content

31
Introduction


32
System description


42.1
Junction Box with camera and laser


42.2
Scorpion Vision Software CD


42.3
Scorpion Laser Profile Measurement profile


43
Measurements


54
Installation of the system


54.1
Installing Scorpion Vision Software


54.1.1
How to get a valid license


54.2
Installing the Scorpion Laser Profile Measurement profile


64.3
Connecting the camera to the Scorpion system


64.4
Mounting the Junction box


64.4.1
Field of view


64.4.2
Positioning the Junction box


64.5
Adjusting the laser


75
Calibration


75.1
Lens distortion calibration


75.2
Length scaling


86
Communication with external systems


86.1
Controlling start and stop


86.2
Sending measurement data


97
Operation


97.1
Starting and stopping the application


97.2
User interface


107.2.1
History


117.2.2
Curves


127.2.3
Results


137.2.4
Statistics


148
Settings


148.1
The conditions


159
Maintenance


159.1
Scorpion


159.1.1
Toolbox


169.1.2
Backup


179.1.3
Restore configuration


179.2
Camera


1810
Support


1810.1
Service order




Revision history

	Revision
	Description
	Date

	A
	First version
	December 22, 2004


Introduction

The Scorpion laser system for profile measurements is a general purpose measurement system typically used for verification of cross sectional profiles.
A Medium Density Fiber Board edge profile is used for illustrating purposes. 

[image: image3.png]640x480-8 bit

® apspten

Settings

F:imdf2.bmp

Service

Profile

Inage

e

Snapshot Inspection

FAIL
D1: 14.3 mm
D2: 14.3 mm
D3: 7.84 mm
Quality: 71 %

%0 ViS41 Pixelvalue 72

9

Help

Close.

S [ 25 o,y | (& s By e

Descrption | sty | Corves | Resuls | staistis |

Profile Ve SCORPION®
System V) VISTON SOF TWARE

Scorpion Vision Software is an independent and open software tool making
computers see.

This profile demonstrates laser profile verification and measurement with standard
components. The components used is a 640x480 firewire camera and a laser.

« Press Start to start inspection.
© To enter Settings mode - password = 1234
© To enter Service mode - password = 911

« Using the Profile Selection Dialog you can make a m:

Scorpion is a tool for configuration and aperation of vision systems.

25]12/2004 15:45:35





1 System description

[image: image1.png]



The Scorpion Laser profile measurement system consists of the following parts: 

· Junction box encapsulating camera and laser

· Firewire Interface card

· RealVNC for remote operation

· Scorpion Vision Software CD and license key
· Scorpion Laser Profile Measurement profile

In addition, a computer for running the Scorpion Vision Software is required.

The system is connected to computer through a Firewire cable.

The computer has the following minimum requirements:

· Windows 2000 / Windows XP

· Intel Pentium II 255 MHz or higher

· 128 MB of RAM

· 10 MB free hard drive space

Junction Box with camera and laser

The junction box system consists of:

· Rittal Junction box with mounting brackets
· Width 150mm

· Height 150mm

· Depth 120mm

· Unibrain Fire-i VGA camera

· 650 nm diode Laser with single line prism
· FireWire cable

· Power supply for laser.
1.1 Scorpion Vision Software CD

Scorpion Vision Software( is distributed on a CD with the following contents:

· Scorpion Vision Software

· System requirements

· Scorpion setup program

· Demonstration profiles

· Camera drivers

· Documentation 

· Support programs 

1.2 Scorpion Laser Profile Measurement profile

The Laser Profile Measurement profile is contained in a zip file easy distribution through email. 
2 Measurements

The box containing the camera and laser is placed some 60 mm from the object, ensuring that the laser line “cuts” the profile to be measured, thus creating the geometry to be measured as shown below. 
The camera is mounted at an angle to the laser plane thus allowing a perspective view of the laser line.

[image: image18.png]The system employs a combination of tools to detect these lines and verifies the geometry of the profile with 0,1 mm accuracy.

To compensate for lens distortion and perspective a lens calibration is performed using a dot matrix.

The lens is focused to give optimal focus over the 60-90 mm depth of operation and then sealed in position. 

Note: Any alteration to the focus of the lens will require a lens calibration to be performed anew. 

To scale the measurements in the camera plane, another calibration procedure is required in which a 3D calibration object is employed.
Check the calibration mode box and select “submit” to employ the relevant tools.

Finally, a linear correction factor is employed based on measurements made from a master object. 
The system verifies the geometry and some critical dimensions of a particle board. 
The following status values are given by the system:

· PASS

· FAIL
The distances D1 and D1 as well as the quality in percent are displayed on the screen together with the PASS or FAIL status. 

Note: All measured values can also be sent over TCP/IP or RS232. You can add commands to be run when a state occur. Select the state under Settings – States, press Edit and add commands under Commands. 

3 Installation of the system

3.1 Installing Scorpion Vision Software

Scorpion Vision Software is delivered on a CD.  See the Scorpion User Manual for installation details. 

In short you do as follows:

1. Turn on your computer. Insert the Scorpion Vision Software( CD-ROM disc into your CD-ROM drive.

2. Select Installation to start the installation process. 
3. Select Install - Scorpion Vision Software. Follow the instructions coming up.

3.1.1 How to get a valid license

Select www.scorpionvision.com on the CD-ROM to get a demonstration license. Copy the license code in the edit field when prompted. For a permanent license, contact Tordivel AS.

3.2 Installing the Scorpion Laser Profile Measurement profile

Install the Laser Profile Measurement profile this way: 

1. Place the received zip-file in the ..Scorpion/Archive folder
2. Start Scorpion. Go to the Windows Start menu. Select Start - Programs - Tordivel Vision Solutions - Scorpion. A profile selection dialog is then shown.

3. In the dialog window, right click the mouse and select Restore. 

4. In the folder coming up, browse to the Archive directory where you saved the zip file and open it. 

5. The Profile is now in the dialog window and you can open the application by double-clicking on it. 
See the Scorpion User Manual for details.

Connecting the camera to the Scorpion system

The camera driver for the Unibrain camera is located on the Scorpion CD. How to install a camera driver is described in the Scorpion html-help file. 

When the camera is connected, select the Service – Camera tab and double click the camera entry. Select the camera with the [image: image4.png]


 button in the window coming up. Then you get the camera properties by pressing Advanced. You can define the image format and number of frames per seconds. Using Firewire cameras it is wise to reduce the frame per seconds to a minimum.
[image: image5.png]Camera Settings

T~ HW igger

Grabber
Port

Camera

1

1

oK

Cancel

Advanced

Unibrain Fire: 1.2 - 135680

Help





See the Scorpion User Manual for further details.

3.3 Mounting the Junction box

Before mounting the following considerations must be clarified:

3.3.1 Field of view

The distance between the box (camera position) and the object defines the Field of View (FOV). Select the distance that will give you the area you need for your application.

The camera angle view is 30 degrees that coincide with the width of the Field of View.

3.3.2 Positioning the Junction box

The camera is positioned at one end in the Junction box and the laser in the other. 

The box should be positioned as shown in this top view drawing:

[image: image6.emf]Camera

Laser

Profile Junction box


3.4 Adjusting the laser

The Laser light line must be positioned in the middle of the camera FOV.

Calibration

3.5 Lens distortion calibration

To increase the measurement accuracy a lens distortion calibration is done. This is performed by a tool named LensCalibration of type Calibrator. You find it under Service - Toolbox. You need service authorisation for doing lens calibration. Press the Help button in the tool window for more details.

3.6 Length scaling

To scale the measurement a four point calibration is required. This operation is restricted and requires authorisation. Press the Settings button in the main panel and give the password. Select the Settings 
· Calibration panel as seen below. 

[image: image7.png]= .
iy 9 5 £, ? °
g 2 s,

640x480-6 bit__ CilProgram Fles{Tordivel ASlScorpion_3\LP-01-01 HuntonitiCalbl0

© apspsten

Wstat ceEmGLETnERG |me

Cabraton |sees |

B couse |[ i oo || P e || 3

Configuration

Calibration
15cale
2 Offset

¥ Calibration Mode

Subr

Profile Calibration

Set Profile Calibration

SCC

vl VISTON

1.0
o0

Calibration Updated

4,2 13,8 Pixelvalue 17

19.12.2004 18:37:52





Check the calibration mode and select “submit” to employ the relevant tools. If the search lines do not cover the laser line, select toolbox and modify the ROI of Line1 to coincide with the extreme left laser line. When the tools indicate that the four point calibration is carried out, select “Set profile calibration” button and the uncheck calibration mode. Make sure to “submit” the unchecked calibration mode, else the calibration tools will still be operative. 

Finally, using a master profile, the scale and offset values are adjusted to fit the master dimensions.

Make sure to press the “submit” button to effectuate the changes.

4 Communication with external systems

The system can communicate with external systems using RS232, OPC and TCP/IP by sending start and stop, status and measurement data.
4.1 Controlling start and stop

Scorpion accepts the following commands for start and stop:

<stx>Start<etx>

<stx>Stop<etx>

Any measured value can be returned. 

4.2 Sending measurement data 

If your system sends measurement data, open the Service - Communication panel to see the data. 

[image: image8.png]2oy
o g b S 2 B2 Q
= v | o | b T eimimw G €

Options:
W Active

COM port settings

™ Send command respanse

2 oeoion | [ s | By core BB sy (@) s

General | schecer | actons | Toobos | Camera Commiricaton | watenanes | Advenced |

Teppp | [Rezaz] | profibus

Port rumber: 1

Options:
T~ show in messages

% Show out messages
I~ Write log ta e

Protocal

Tine

640x480-6 bt CilProgram Fles{Tordivel ASlScorpion_3|LP-01-01 Huntonitiimages

Parametres: [3600;8;pone; 1

I~ Rawdata

set

[Rs237bg it

1. <STi> <Data> <ETX>

Sender Event

© apspten 10 vise8 Pl 13

Wstat ceEmGLETnERG |me )

19.12.2004 13:01:35





What to send is defined under Settings – States. Select a state and you can define a command to be run when the state occurs. 

5 Operation

5.1 Starting and stopping the application

Manual start

· Start Scorpion

· Select Profile Laser Profile Measurement
· The Scorpion application starts with the profile

Automatic start

You make a shortcut for an automatic startup by opening the Windows Explorer and navigate to Scorpion.exe. You find this file on the path ..\program files\tordivel as\scorpion…  Select the Scorpion.exe file, press the right mouse button and choose Create shortcut. In the shortcut properties you change the Target to System=.\<path to profile>.
Example:  ”C:\Program files\Tordivel AS\Scorpion\Scorpion.exe” System=.\Laser Profile Measurement

You will in this example start the Laser Profile Measurement profile that is placed on a sub folder. 

You can place the shortcut on the Desktop or under the Scorpion program group. Name the shortcut ’Scorpion – Laser Profile Measurement’.
Stop
Stop the application this way: 

· Press the Close button in the main panel to terminate the Scorpion application. 

5.2 User interface

The screen picture under normal operation is shown below. The following information is available:

· Camera image

· Inspection result with indicator panels, green when ok, red when error

· Description – Web page that contains a short description of the inspection task

· History – displays the latest inspection results

· Curves – give a graphical view of measured values

· Results – show measured values of the latest inspection

· Statistics – give a periodical view of the inspection results

[image: image9.png]g b o

L 2 Q

Snapshot Inspection  Help  Close

2

B g [ sotios By e é

BB sty | Curvs | Resuls | statistis |

Systemlog about

Profile Verification SCORPION

VISTON s0f

System 2 TVARE

Scorpion Vision Software is an independent and open software tool making
computers see.

This profile demonstrates laser profile verification and measurement with
standard components. The components used is a 640x480 firewire camera and a
laser.

« Press Start to start inspection.
© To enter Settings mode - password = 1234
© To enter Service mode - password = 911
« Using the Profile Selection Dialog you can make a maintenance copy of the
this profile to make your custom Scorpion Color Identification System.

%110 11589 Pixelvalue 13 19.12.2004 19:02:14

Wstat  ceEmELETEG

| s €0




The Main buttons (upper row, below the main window title) are used to Start, Stop and Close the system. Additionally there are two buttons to lock/unlock the password protected Settings and Service panels. You can save an image by pressing Image and do a manual inspection by pressing Inspection. Save the profile by pressing Profile. 

5.2.1 History

[image: image19.png]= E bh S 2 1B 7O

Start Settings | Service  Profle  Image  Snapshot Inspection  He  Close

about

Desarpton [FEY | cuves | Resuts | staistics |

Insgeno | Tme Comment
19.12.2004 19:03:16 0,00 mm - PASS
19.12.2004 19:03:15 0,00 mm - PASS
19.12.2004 19:03:14 0,00 mm - PASS
19.12.2004 19:03:13 0,00 mm - PASS
19.12.2004 19:03:12 0,00 mm - PASS
19.12.2004 19:03:11 0,00 mm - PASS
19.12.2004 19:03:10 0,00 mm - PASS
19.12.2004 19:03:09 0,00 mm - PASS
19.12.2004 19:03:08 0,00 mm - PASS
19.12.2004 19:03:07 0,00 mm - FAIL
19.12.2004 19:03:06 0,00 mm - PASS

12> 1819 90N4 1R:60:3 10N o - EAT

640x480-6 bt CilProgram Fles{Tordivel ASlScorpion_3|LP-01-01 Huntonitiimages

275 V1613 Pixelvalue 13 19.12.2004 13:03:19

Wstat ceEmGLETnERG |me o) & €



The latest measurements are shown in the history list. A number identifies each image taken. The time and the classification result (the state) are additionally given in the list. By selecting an entry in the list, the image is displayed in the Image window to the left on the screen.

If you stop the system, you can look at the pictures and eventually store interesting ones for further analysis. The image you choose is shown in the camera image to the left on the screen. 
Curves

You can choose between numbers of curves illustrating different values calculated by the system. All measured values can be graphed. Right click the mouse to see a menu and select add or remove curve. 

Note: you can only add or remove a curve in Settings or Service mode. Select Settings in the main panel and give the password.
If you are adding a curve, you get a list of all values available. The left column shows the image tools used in the analyses. The right column shows the values measured by the tool. Choose a value, click Ok and the value is graphed.

Right click the mouse over the curve, and you can reset this or all curves, open the settings panel (if you are authorized) or set the history length similar for all curves.

Adjustments of alarm limits and curve values can be done if you are in settings mode. Double click the curve name to see the adjustment parameters. You can adjust the curve axes and the alarm limits. 

The curve below illustrates the distance D1 variations.
[image: image10.png]—
o g b S 2 B2 Q
= v | o | b T eimtmimw &b

Descton | Hitory Curvs | Resuls | states |

[System.Image arab time[@]system. Cycle time. [RIFindaidge. Center[1].y [Ro2.Distance
ystem Anchsistine. [Wsystem Actve tine  [EMetchtotProfie.Ditence [0 Distance
|System.Command tine [BSystem.Idie tine = [Ro3.Angle

D1 Distance.

640x480-6 bit__ CiiProgram Fles{Tordivel ASlscorpion_3|LP-01-01 Huntonitiimages

0 5 10 15 20 25 M 35 40 45 S0 S5 60 65 70 75 80 85 G0 85 100

Last| 1474 Mn| 1429 Max| 1575 Average| 1513 Stddev| 0,33

1243 11630 Pixelvalue 13 27.12.2004 15:01:27

Wstat @ ceEmELETnEG W 2





[image: image11.png]Settings for D1 Distance
A seltings

Manvaleveticalais [

Min value vertcalaris [16

Histor length & I~ Stais

Linits

¥ Noiy alaims
values excesds

Active dlamf oithelatest[5 hmGe

Norinl value I~ Show
Al ighfit I~ Active
Watning high it I~ Active

Watning low it I~ Active

Al low it I~ Active





Results

Measured values of each inspection are shown in this panel. 

You can choose which parameters to display by selecting New and choose from the list coming up. The left column shows the image tools used in the classification. The right column shows the values measured by the tool. Choose a value, click Add (then the window stays open – smart if you want to add more values) or Ok, and the value is included in the overview.

[image: image12.png]g b o

Snapshot Inspection

C:{Program Fis!Tordivel AS{Scorpion_3ILP-01-01 Huntonitmage:

7 Q

Help

B oeaen | & v By v ZB senes (@) wo

Descrpton | Hitory | Curves Rl | sttt |

Wstat  ceEmELETEG

e T Vaoo [k
[Elport i ofntersection 00
[Elporit i ofntersction Y
[Elpariz i ofntersction Y
[Elpariz i ofntersction Y
[Elpars i ofntersction Y
[Elpars i ofntersction Y
[Elparts i ofntersction Y
[Elpors i ofntersction Y
[Elot Dhtence 50
[Flee Dhtence 128
[Flos EE s
[Elactnaidoe Dhtence ot
[Elrachictprric Dhtence 1t
958 V1695 Pclvle 13 1.122008 191302





Statistics

A periodical view of the inspection results is shown here. The table has one row for each classification state. The columns show the inspection result for this period, last period and the total.

By right clicking the mouse and selecting from the menu shown, you can manually reset the statistics. You can also choose to automatically save the statistics. The time and frequency for doing this is chosen under Scheduler in the Service panel.

[image: image13.png]ER e
e i h =
st lock settigs|servce _Profle_Image

640x480-6 bt CilProgram Fles{Tordivel ASlScorpion_3|LP-01-01 Huntonitiimages

Wstat  ceEmELETEG

L 2 Q

Snapshot Inspection  Help  Close

2

Descrpion | Hstory | Curves | Resuls Statstis |

B oeaen | & v By v ZB senes (@) wo

Condtian Current perod |_Previous period Total
pass % 230836 230522
FALL 6 26263 26269
Undefined state o o o
Sum 2 257159 257191

Errors current period 0 previous 0 total 0

1278 11598 Pixelvalue 13

19.12.2004 13:11:27





Settings

To change the settings press the Settings button in the main panel and give the password. 

5.3 The conditions

Scorpion classifies inspection results in states. This is presented in the history list and in the inspection result field at the lower left of the screen. 

[image: image14.png]—
o g b S 2 B2 Q
= v | o | b T eitmimw G &%

2 oeoion || [ sewos B sore BB sy (@) s

Catbration (85555

Description Condtian New
Fale
True
Deactivate
Help
640x480-6 bit__ CilProgram Fles{Tordivel ASlScorpion_3\LP-01-01 Huntonitiimages
%78 11632 Pixelvalue 13 19.12.2004 13114152

Wstat ceEmGLETnERG |me o) & €




The following states are defined:

· PASS

· FAIL
By selecting the state and pressing the Edit button you see the state setup with constraints and commands to be sent when the state occurs. 
6 Maintenance

6.1 Scorpion

Authorized service operators can enter service mode when maintaining the system. Press the Service button in the main panel and give the password. The service panels to the right of the screen will then appear. See the Scorpion User Manual for operating details.

[image: image15.png]3 24
e i h = I
Start setings | servce _profle _Inage

L 2 Q

Snapshot Inspection  Hep  Close

Profile | Options | Panels

INI Fles

Misc

2 oeoion | [ s | By core BB sy (@) s

B8] schectr | cions | Toobox | Camera | Communication | Hetanance | Adkanced |

640x480-6 bt CilProgram Fles{Tordivel ASlScorpion_3|LP-01-01 Huntonitiimages

Wstat  ceEmELETEG

2

Explorer
entcabion -
Profile. |C:\Program Files\Tordivel AS\Scorpion_3{LP-01-01 Huntonit. o
Systemnane [Laze role Verfication Parameters
Profect fsion Console
Python modl name [Eearminerorie]
——— Events
Profleverson 3 17 ™ Readony
b
78 vi632 Poolvlue 13 15.12.2004 19:16:41
| @ | LR





6.1.1 Toolbox

The image analysis in Scorpion is performed by a toolbox of user configurable tools. You find a rich variety of tools in Scorpion. These are image-processing tools in addition to mathematical and logical tools. They are grouped in five categories: Basic, Data, Edge, Geometry, Reference and Advanced tools. 

When run, a tool generates a result given as one or more values in addition to a set of graphical elements for visualisation. The measured result is used to define the measured object’s state or status, which again decides if an action is to be taken.  The visualisation elements are used to illustrate the Scorpion measurements in the camera image. Each element is given a colour.
Additionally to the image analyses tools, there are other tools used to further process the analyses results. 
[image: image16.png]—
o g b S 2 B2 Q
= v | o | b T eimimw G €

2 oeoion | [ s | By core BB sy (@) s

Goneral| Schedler | Actions [T35855) caera | commuricaton | Mansnance | Advarced |

T {ms] [ Wame Type In... | Reference Hew

00 Ponz PointFronLines 1 LensCalbration

00 Ponta PointFronLines 1 LensCaibration

00 Pontt PointFronLines 1 LensCaibration

0,0 TracelLowerline LineFromPoints 1 LensCaibration

0,0 TraceUppertine LinsFromPoints 1 LensCaibration

0,1 ProfiCalbration ExtermaReference 1 LensCalbration

0,0 MoveReference MoveReference 1 Proflecalbrator

11,3 FindaiEdge Bloba L1 MoveReference

38 MatchiaiEdoe Polygoniatch L1 FindaiEdge ove

98 SethiaiEdgeRotation Pythonsarpt 1 =

01 NaiEdgeRef MoveReference L1 MetchiaEdge sed by

0.1 TraceNaifdgeLine Externalline LI MatchhalEdge

143 MatchhotProfile Polygoniatch L1 NalEdgeRef Help

0,0 TraceBaseline Externalline LI MatchiotProfile

0,0 NotPoitt Externakoint LI MatchiotProfile

0.1 NotPointz Externakoint LI Matchiotprofie | [ Fitering

0,0 NaiEdgepointt Externakoint L1 MetchalEdge | [nage

27 Nottinel LineFinder LI NotPotz o

41 NaiEdgelinet LineFinder 1 MatchiaiEdge
SRR s Rt 01 aictoenez Lrinder o v ||
640x430- bit__CiProgram Fies!Tordivel A5iScorpion_3iLP-01-01 Hunkonitlimager| 29 NeiEdgelined LneFindsr U WehiEdse e eaton

00 D3 NearestPoitonline 1 ProfieCalbratior | 5

o1 o1 PointDistanceTool 1.1 ProfieCalbratior | selected

o1 02 PointDistanceTool 1.1 ProfieCalbratior | ¢ sl 4 Ref

o1 03 PointDistanceTool LI LensCalbration |~ fane

00 Dicar LineerScaleTool 1ot

00 D2cor LineerScaleTool ooz

00 D3co LineerScaleTool 1oz

2o 5 vt pv—— o
781632 Pixelvalue 13 19.12.2004 13:15:49

Wstat ceEmGLETnERG |me o) & €




6.1.2 Backup

It is wise from time to time to take a backup of the system. 

Interval

· After system delivery

· Before profile changes

· After a successful system modification

· Before software upgrades of:

· Windows

· Scorpion Vision Software

Procedure

Select the Service - Maintenance panel. Choose an archive folder and press the Backup button. For more details see the Scorpion User Manual.

[image: image17.png]g b & 2

C:{Program Fies\Tordivel AS{Scorpion_3ILP-01-01 Huntontmage:

L2 Q

sovce | Prole_Image_ Srashot Inpadien o
=
2 oeoion | [ s | By core BB sy (@) s

Goneral| Schedler | Actions | Toobos | Caera | commuricaton R | dvanced |

e

T
Archivefolder [CTProgram Fies TrdvelAScormion Srae J
PR oate =
[8iP-0101 furtont o2 10.122008 155006 167911
[Alie-o1-01 Huntonk 00345 15.12.2004 15551542 e

Explre

b

Comment

%78 11632 Pixelvalue 13

Wstat ceEmGLETnERG |me )

T
= On:




6.1.3 Restore configuration

If Scorpion is upgraded to a newer version than the backup, you must remove the existing Scorpion Version (with the setup program or Windows Add/Remove program) before you restore the backup. Then you reinstall Scorpion with the same version as the backup. 
Interval

· Restore after computer breakdown

· Restore after unsuccessful profile changes

Procedure

See the Scorpion User Manual.

6.2 Camera

To change the camera, do as follows:
· Shutdown the computer and disconnect the camera cable

· Change camera and connect the camera cable

· Start the computer and Scorpion

· Follow the procedure in chapter Connecting the camera to the Scorpion system
See the Scorpion User Manual for further details.
Support
Tordivel AS is committed to give Scorpion users the best available support. 

Check our web site www.scorpionvision.com for support issues. Here you find product information, whitepapers and FAQ.
6.3  Service order

Contact can be made to:
	Phone
	+47 23158700

	Fax
	+47 23158701

	Email
	support@tordivel.no

	Address
	TORDIVEL AS

Storgata 20

0184 Oslo

NORWAY

	Description of 

service task
	














ud-2004-0007-a Installation and Operations Manual - Laser Profile Measurement
Page 2 of 18

[image: image20.png]


_1164985715.vsd

